## Instructions
96 Hour Sustainability Assessment Chart developed by Iroquois Healthcare Association & Healthcare Association of New York State
The 96 Hour Sustainability Assessment Chart provides a visual representation and analysis of sustainability periods and gaps that may impact operations. This Chart may be used in conjuction with the 96 Hour Sustainability Tool, and as part of the methodology outlined in “A Process for Determining Sustainability During Emergencies: Dealing with the 96-hour rule” Inside ASHE (Sep–Oct 2008).
INSTRUCTIONS
Planning: The instructions below are for use of this 96 Hour Sustainability Assessment Chart andfor planning. Please use the adjacent Tab: CHART Planning.
The Resources and Assets in Column B of this 96 Hour Sustainability Assessment Chart are categorized in Column A by the Joint Commission’s six Critical Functions of Environment of Care. They also correspond to Tabs for calculating RA Sustainability in the accompanying 96 Hour Sustainability Tool. The Critical Functions and corresponding Tabs in the 96 Hour Sustainability Tool are numbered and categorized as follows:
1. Communicating during emergency conditions.
2. Managing resources and assets during emergency conditions.
3. Managing safety and security during emergency conditions.
4. Defining and managing staff roles and responsibilities during emergency conditions.
5. Managing utilities during emergency conditions.
6. Managing clinical activities during emergency conditions.
Step 1. Determine the Resources and Assets (RA) essential to the facility's operation. It is recommended that RA determinations be made by the facility's emergency management committee or other multi-disciplinary team. It is also recommended that the organziation base RA determinations on all-hazard planning, identifying what resources will generally be needed as opposed to a specific type of incident with specific needs. (HVA-specific assessment may be subsequently conducted.) Step 2. List in Column B of the 96 Hour Sustainability Assessment Chart each RA your organization determines essential during emergency operations. (This Chart is pre-populated with RA which may or may not be essential to your faciliy's operation. Pre-populated RA may be be deleted, supplemented, itemized or otherwise changed to best reflect your operational needs, and may also be categorized by different Critical Function than in this Chart and in the corresponding Tabs of the 96 Hour Sustainability Tool.) Step 3. Determine whether each RA may have its sustainability calculated using the accompanying 96 Hour Sustainability Tool. A general rule is that if the RA can be a) quantified and b) consumed, the Tool may be used to determine sustainability. RA which is pre-populated in Bold can be calculated using the Tool. These pre-populated RA are correspondingly pre-populated in the Tool. The sustainability of some RA cannot be determined using the Tool (including pre-poulated RA that is not in Bold). A multi-disciplenary approach, applying reasonable assumptions is recommended and described in the Guidance. Step 4A. RA in Bold and other quantitative and consumable RA, calculate the Inventory Sustainability of each RA using the 96 Hour Sustainability Tool (refer to instructions in the Tool). Using the results from Column F - Inventory Sustainability in the 96 Hour Sustainability Tool, populate this Chart using Green, Yellow, or Red. (Example: If Linen Supplies has a Column F value of 36 hours, Color code that RA row Green for through 36 hours. The time period to be coded Yellow and Red is determined using reasonable assumption process.) Step 4B. For RA not in Bold, and for RA added by facility which may not be quantitatively calculated using the 96 Hour Sustainability Tool, sustainability should be determined through a multi-disiplenary process using reasonable assumptions to make determinations relating to sustainability periods. Populate this Chart using Gren, Yellow or Red. Step 5.
Step 5. Using the results from Inventory Sustainability (Column F) in the 96 Hour Sustainability Tool, and the organization's internal, reasonable assumptions, populate the 96 Hour Sustainability Assessment Chart rows using Green, Yellow, or Red as defined:
Green = Resources are known or calculated to be available with no impact on normal operations.
Yellow = Potential exists for impact on normal operations. Implement appropriate Emergency Operations Plans to mitigate the impact of a sustained event.
Red = Normal and emergency operations are significantly impacted. All internal resources/strategies to mitigate the impact have been depleted.
To color code Hours of Emergency Operations (Columns C – AP):
a. Click on Capability (i.e Line 4 = Landline Phone Service) and Hour (i.e. Column C = 0 Hour).
b. Hold SHIFT key and Click on Hour to color code (i.e. Column V=Hour 36).
c. Click Color Fill Icon
d. Select Green, Yellow or Red from the Standard Colors.
Step 6. Insert text within color coding to reference applicable plans, describe mitigation strategies, consumption adjustments or helpful notations.
Response: During response to actual events, populate the 96 Hour Sustainability Assessment Chart as described above, using the data from the Actual Events Sustainability Period (Yellow) Columns J, O, T, Y and AD.

## CHART Planning
96 Hour Sustainability Chart | 96 Hour Sustainability Assessment Chart
Incident Type: Planning HVA 1
Tool Tab* | [16 empty] | Hours of Emergency Operations
Critical Function* | Resources & Assets (RA) | 0 | 1 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 60 | 64 | 68 | 72 | 76 | 80 | 84 | 88 | 92 | 96
1 | Landline Phone Service
1 | Cell Phone Service
1 | Computer Function
1 | Alarm System
1 | Overhead Paging
2 | Linen Supplies
2 | Housekeeping Supplies
2 | Food and Nutrition Products
2 | Trash Pickup
2 | Paper Products
2 | Medical Waste Pickup
2 | PPE
3 | Security Staff
3 | Fire Safety Systems
3 | Facility Security
3 | Safe Access/Egress-Emergency Vehicles
3 | Crowd Control
3 | Hazardous Waste Management
3 | Decontamination
Tool Tab* | [16 empty] | Hours of Emergency Operations
Critical Function* | Resources & Assets (RA) | 0 | 1 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 60 | 64 | 68 | 72 | 76 | 80 | 84 | 88 | 92 | 96
4 | Patient Care Staff
4 | Non-Clinical Staff
5 | Normal Electrical Power
5 | Emergency Elect Power/Generator
5 | Fuel Oil
5 | Heating System
5 | Steam Pressure
5 | Hot Water Boiler
5 | Natural Gas
5 | Propane
5 | Potable Water
5 | Non Potable Water
5 | Sewer System
5 | Chiller System
5 | Major Air Handling Equipment
5 | Elevator(s)
5 | Sump Pump
5 | Bulk Oxygen
5 | Medical Air
5 | Medical Vacuum
5 | Nitrogen
6 | Medication
6 | Medical Supplies
6 | Surgical Supplies
6 | Morgue Space
| Green | Resources are known or calculated to be available with no impact on normal operations.
| Yellow | Potential exists for impact on normal operations. Implement appropriate Emergency Operations Plans to mitigate the impact of a sustained event.
| Red | Normal and emergency operations are significantly impacted. All internal resources/strategies to mitigate the impact have been depleted.
Instructions for 96 Hour Sustainability Tool 1. List in Column B of this Chart all Resources and Assets (RA ) your facility determines essential to emergency operations. (This Chart is pre-populated with RA which may or may not be essential to your faciliy's operation. Pre-populated RA may be be deleted, supplemented, itemized or otherwise changed to best reflect your operational needs, and may also be categorized by different Critical Function than in this Chart and in the corresponding Tabs of the 96 Hour Sustainability Tool. RA in Bold correspond with RA which may be calculated using the accompanying Tool. Other pre-populated RA will need to have Sustainability Periods determined by a multi-disciplinary team using reasonable assumptions.) 2. For RA in BOLD, calculate its Inventory Sustainability using the 96 Hour Sustainability Tool. Using the results from Inventory Sustainability (Column F) in the 96 Hour Sustainability Tool, populate this Chart grid using Green, Yellow, or Red. (Example: If Linen Supplies has a Column F value of 36 hours, Color code that RA Row Green for through 36 hours. The time period to be coded Yellow and Red is determined using reasonable assumption process.) 3. For RA not in Bold, and for RA added by facility which may not be quantitatively calculated using the Tool, determine Sustainability Color Coding using reasonable assumption process.
* RA categorized by Tab and Critical Function (CF).
* RA in Bold are itemized in the corresponding Tab on the 96 Hour Sustainability Tool.
Tab / CF 1 = Communicating during emergency conditions. | [12 empty] | Tab / CF 4 = Defining and managing staff roles and responsibilities during emergency conditions.
Tab / CF 2 = Managing resources and assets during emergency conditions. | [12 empty] | Tab / CF 5 = Managing utilities during emergency conditions.
Tab / CF 3 = Managing safety and security during emergency conditions. | [12 empty] | Tab / CF 6 = Managing clinical activities during emergency conditions.

## Severe Weather
96 Hour Sustainability Chart | 96 Hour Sustainability Assessment Chart
Incident Type: Severe Weather
Tool Tab* | [16 empty] | Hours of Emergency Operations
Critical Function* | Resources & Assets (RA) | 0 | 1 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 60 | 64 | 68 | 72 | 76 | 80 | 84 | 88 | 92 | 96
1 | Landline Phone Service
1 | Cell Phone Service
1 | Computer Function
1 | Alarm System
1 | Overhead Paging
2 | Linen Supplies | [33 empty] | MITIGATION -- REUSE
2 | Housekeeping Supplies
2 | Food and Nutrition Products
2 | Trash Pickup
2 | Paper Products
2 | Medical Waste Pickup
2 | PPE
3 | Security Staff
3 | Fire Safety Systems
3 | Facility Security
3 | Safe Access/Egress-Emergency Vehicles
3 | Crowd Control
3 | Hazardous Waste Management
3 | Decontamination
Tool Tab* | [16 empty] | Hours of Emergency Operations
Critical Function* | Resources & Assets (RA) | 0 | 1 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 60 | 64 | 68 | 72 | 76 | 80 | 84 | 88 | 92 | 96
4 | Patient Care Staff
4 | Non-Clinical Staff
5 | Normal Electrical Power
5 | Emergency Elect Power/Generator
5 | Fuel Oil
5 | Heating System
5 | Steam Pressure
5 | Hot Water Boiler
5 | Natural Gas
5 | Propane
5 | Potable Water
5 | Non Potable Water
5 | Sewer System
5 | Chiller System
5 | Major Air Handling Equipment
5 | Elevator(s)
5 | Sump Pump
5 | Bulk Oxygen | [26 empty] | mitigation-- conservation measures
5 | Medical Air
5 | Medical Vacuum
5 | Nitrogen
6 | Medication
6 | Medical Supplies
6 | Surgical Supplies
6 | Morgue Space
| Green | Resources are known or calculated to be available with no impact on normal operations.
| Yellow | Potential exists for impact on normal operations. Implement appropriate Emergency Operations Plans to mitigate the impact of a sustained event.
| Red | Normal and emergency operations are significantly impacted. All internal resources/strategies to mitigate the impact have been depleted.
Instructions for 96 Hour Sustainability Tool 1. List in Column B of this Chart all Resources and Assets (RA ) your facility determines essential to emergency operations. (This Chart is pre-populated with RA which may or may not be essential to your faci
* RA categorized by Tab and Critical Function (CF).
* RA in Bold are itemized in the corresponding Tab on the 96 Hour Sustainability Tool.
Tab / CF 1 = Communicating during emergency conditions. | [12 empty] | Tab / CF 4 = Defining and managing staff roles and responsibilities during emergency conditions.
Tab / CF 2 = Managing resources and assets during emergency conditions. | [12 empty] | Tab / CF 5 = Managing utilities during emergency conditions.
Tab / CF 3 = Managing safety and security during emergency conditions. | [12 empty] | Tab / CF 6 = Managing clinical activities during emergency conditions.