[image: image2.jpg]7

/i

CALIFORNIA

HOSPITAL

ASSOCIATION

Providing Leadership in
Health Policy and Advocacy




Hospital Shelter In Place Planning Checklist

CHA Hospital Shelter In Place Planning Checklist


Hospitals are required to incorporate Shelter in Place (SIP) planning into their Emergency Management Program (EMP).   Sheltering in place is a rapid and effective means of protecting facility occupants from an external or internal threat.  In some circumstances, the external environment could pose a significant danger to patients, staff and visitors (for example, chemical, biological or nuclear event).  In others, community infrastructure damage and/or limitations and a lack of timely evacuation support resources may make immediate evacuation impossible (for example, earthquake, wildfire, flood). It is not the intent of this document to address every aspect of SIP planning, but to prompt the development and documentation of criteria, critical decision-making factors, and SIP plans.  SIP planning should be addressed in mitigation strategies, preparedness activities, and response and recovery plans. 
	Plan Component
	
	

	Overview 
	Reference/Location
	Status

	A. Document Shelter in Place (SIP) Policy and Purpose
	
	

	B. Define Scope and Applicability 
	
	

	C. Identify Activation Authority (immediate)
	
	

	D. Define Activation Criteria and Decision-Making (1)
	
	

	1. Mitigation 
	Reference/Location
	Status

	A. As appropriate, reference SIP as potential response to hazard (for example, chemical spill or release)
	
	

	B. Reference mitigation activities that may support SIP plans (for example, CO2 scrubbers, expand fuel for generator, expand water storage)
	
	

	2. Preparedness 
	Reference/Location
	Status

	A. Response plans incorporate SIP option, as appropriate 
	
	

	B. Communication Plans

· Risk Communication (Pre-event)

· Internal alert/notification (staff, patients and visitors)

· External communications plan
	
	

	C. SIP Training records (such as, new employee orientation, SIP codes, SIP plans) 
	
	

	D. Drills/Exercises Incorporate SIP Decision-Making and Plans
	
	

	3. Response                                                                                                       (SIP)
	Reference/Location
	Status

	A. Initiation and Termination of Shelter In Place activities/plan

· Criteria and Decision Making Process

· Assessment/Reassessment of External Factors

· Assessment/Reassessment of Internal Capabilities

· Assessment/Reassessment of Needs
	
	

	B. Issuance of Alert for Hospital Emergency Code for SIP Activation(s)
	
	

	C. Activation of the Hospital Command Center (HCC) for SIP
	
	

	D. Initiate/Maintain communication and coordination with community response partners, such as, Emergency Medical Services (EMS), Emergency Operations Center (EOC), Fire, Safety, other healthcare facilities, media, etc).
	
	

	E. Identify relevant HICS Forms and Documentation 
· Job Action Sheets 
· Incident Planning Guides (specific to SIP scenario) (2)
· Incident Response Guides (specific to SIP scenario) (2)
	
	

	3. Response                                                                                                       (SIP)
	Reference/Location
	Status

	F. Initiate and Maintain Internal Communication (all facilities on grounds)

· Staff/Medical Staff Alerts and Notifications

· Patients and Visitors

· Signage and Other Means 
	
	

	G. Event-Specific Planning Guides and Response Plans clearly identify SIP activities, as appropriate to event (for example, chemical or biological release, internal disaster, wildfires) (2)
	
	

	H. Identification of SIP Patient Care and Non-Patient Care Locations to provide best protection from threat (such as, interior hallways, rooms without windows, alternative treatment areas) with access to essential resources and patient care supplies.
	
	

	I. Document operational response procedures (what, who, where, how), such as immediate protocols for:
· Shutting down HVAC, 

· Sealing facilities (for example, sealing vents, doors and windows with tape and plastic)

· Lock-down and access control
· Movement of patients, staff and visitors to SIP/safe locations

· Providing supplies, equipment, pharmaceuticals, water and food to SIP/safe location(s)
	
	

	J. Assess Available Resources and Assets (Capabilities)

· Identify hospital capabilities and establish response procedures when the hospital cannot be supported by the local community for estimated duration of the event (capabilities may include communication, resources, utilities, staff, food, water, safety and security)
· Document response procedures (such as maintaining/expanding services, conservation of resources, curtailment of services, supplementing resources from outside disaster zone, partial/staged evacuation, or full evacuation, as necessary)
	
	

	K. Management of Resources and Assets

· Inventory/monitor/conservation or replenishment of assets and resources (such as, food/water, pharmaceuticals, medical supplies/equipment, linens, personal protective equipment)

· Maintain Hospital Resource Directory (HICS 258)

· Plan for staff support (such as food, water, respite, medical, mental health)
	
	

	L. Monitor, conservation and alternatives for utilities (such as electricity, water, fuel, medical gasses and other essential utilities)
	
	

	M. Management of Safety and Security

· Establish internal safety and security

· Control access and movement in and between facilities

· Coordinate security/safety with community agencies

· Reference Radioactive/ Biological/ Chemical isolation and  decontamination plans

	
	

	3. Response
(SIP)
	Reference/Location
	Status

	N. Management of Clinical and Support Activities

· Implement patient management plans in coordination with local emergency management (cancellations, diversion, emergency care, patient tracking)

· Management of patient clinical activities (such as Decontamination, Triage, Treatment Areas )

· Full or partial evacuation (see CHA Evacuation Checklist)
· Documentation and tracking of patient clinical information
· Specific responsibilities by department or identified need (such as HazMat, Labor Pool, Auxiliary/Volunteers, Emergency Department, Dietary, Environmental Services, Plant Operations, Pharmacy, Respiratory Therapy, Social Services)
	
	

	4. Recovery 
	Reference/Location
	Status

	A. Initiation of recovery activities initiated during Response Phase
	
	

	B. Secure and initiate clean-up and decontamination of contaminated facilities and grounds in coordination with Fire and Safety
	
	

	C. Return to normal operations (phased, approvals, priorities, checklists)
	
	

	D.  Event Evaluation 

· Multi-disciplinary Incident Debriefing

· Evaluation of Response Plans (After Action Reports)

· Improvement plans/EOP update (Corrective Action Plans)
	
	


Footnotes: 
(1) SIP Decision Tree (Exhibit 1)
(2) HICS Incident Planning Guides (such as, Chemical, Biological, Severe Weather, Radiologic/Nuclear)

HICS Incident Response Guides (such as, Chemical, Biological, Severe Weather, Radiologic/Nuclear)
[image: image1.wmf]Event

or

Situation

SIP

Required

?

Event

6

Event requiring facility to consider whether evacuation or 

Shelter in Place 

(

SIP

) 

plans should be activated

6

External and internal intelligence regarding event

Must Shelter

-

In

-

Place

6

The external environment would pose a greater danger to 

patients

, 

staff and visitors than evacuation 

(

e

.

g

.

, 

chemical

/

biological agent release

, 

nuclear incident plume

)

6

Adequate and timely facility and

/

or mutual aid resources are 

not available or accessible 

(

e

.

g

.

, 

earthquake

)

Hospital

Capabilities

Adequate

?

Activate 

Shelter In Place 

Plans

Yes

Initiate

/

Maintain 

Contact with Local 

Emergency 

Management

6

Initiate EOP

6

Capabilities

?

6

Patients

?

Shelter In Place or Evacuation Decision

6

Duration and scope of threat to hospital clear but may evolve

6

Hospital capabilities adequate to care for patients and staff 

with available support for estimated event duration

6

May or may not be barriers mutual aid resources should 

evacuation become necessary

Potential

Threat to

Safety

?

No

Must Evacuate 

6

The proximity

, 

scope and

/

or expected duration of event poses 

an immediate threat to patient and staff safety

6

Adequate and timely facility and

/

or mutual aid resources are 

available and accessible to support Full or Partial evacuation

Consider Full or 

Partial Evacuation 

Plan

Initiate 

Coordination of 

Mutual Aid 

Support through 

Emergency Mgmt

Yes

Future

Barriers to

Evacuation

?

Activate

Shelter In Place

Plans

Yes

Initiate 

Conservation 

Measures as 

Necessary

Initiate 

Reduction 

Measures

Initiate Measures 

as Necessary 

(

Diversion

, 

Discharge

, 

Evacuation

, 

etc

)

Notify and 

Coordinate Mutual 

Aid Support with 

Local  Emergency 

Mgmt 

Yes

No

Need to Implement Reduction Measures

6

Hospital capabilities not adequate to maintain full operations 

for estimated duration of event

6

Determination made that reduction measures necessary 

(

for 

example

, 

conservation of resources

, 

curtailment of services 

and

/

or partial hospital evacuation

)

6

No identified barriers to mutual aid resources

No

A

Hospital Capabilities may include communication

, 

resources 

(

medical

/

non

-

medical supplies and equipment

)

, 

utilities

, 

staff

, 

food

, 

water

, 

safety and security 

(

including safety of facilities

).  

C

o

n

t

i

n

u

a

l

l

y

 

R

e

-

A

s

s

e

s

s

 

S

i

t

u

a

t

i

o

n

 

a

n

d

 

P

l

a

n

s

 

(

E

x

t

e

r

n

a

l

 

-

 

I

n

t

e

r

n

a

l

)

A

No

Yes


Note: There is no requirement for hospitals to reorganize their plans to coincide with the checklist; the checklist assumes a complete Emergency Management Program. 

Version: May 9, 2011 (updated flow chart)
Page 1 of 4
Note: There is no requirement for hospitals to reorganize their plans to coincide with the checklist; the checklist assumes a complete Emergency Management Program. 

Version: May 9, 2011 (updated flow chart)
Page 2 of 4

