# TCID 50 protocol

- Put A6 cells in 96well plates at 5000cells/well in ASF +10% FCS (100ul total) for about 2 days.

- In a separate V bottom 96 well plate, do dilutions of virus:

A. 1:25- Add 8ul of virus in 192ul of ASF-A6 or ASF

B. 1:50- Add 60ul of 1:25 in 60ul ASF-A6 or ASF

C. 1:500- Add 12ul of 1:50 in 108ul ASF-A6 or ASF

D. 1:5000- Add 12ul of 1:500 in 108ul media and so on until dilution

H. 5x107

*Note: Make sure you resuspend the wells very well before going to the next dilution!!

- Transfer 100ul of each dilution to the plate with A6 to make a total of 200ul per well.

*Remember to leave columns 1 and 2 without virus, these are the control.

- Leave in incubator at 37C with CO2 for approx. 5 days.

- Check daily.

TCID 50 Calculation

Example

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - | - | + | + | + | + | + | + | + | + | + | + |
| - | - | + | + | + | + | + | + | + | + | + | + |
| - | - | + | + | + | + | + | + | + | + | + | + |
| - | - | + | + | + | + | + | + | + | + | + | + |

Dilution

10-1 A

10-2  B

10-3  C

10-4 D

10-5  E

10-6  F

10-7 G

10-8 H

Control

% Death

-	-

-	-

-	-

-	-

+

+

-

-

+

+

-

-

100%

100%

100%

100%

| + | + | + | + | + | + | + | + |
| --- | --- | --- | --- | --- | --- | --- | --- |
| + | + | + | + | + | + | - | - |
| - | - | - | - | - | - | - | - |
| - | - | - | - | - | - | - | - |

100%

80%

0%

0%

- Calculate Proportionate Distance (PD) between the two dilutions in between 50% death: (% next above 50%)- 50% / (% next above 50%) – (% next below 50%)

Example above:

PD= 80%-50% / 80%-0%= 30/80= .375

- Calculate 50 % end point. Log lower dilution= dilution in which position is next above 50%

Example above:

Log lower= 10-6 or -6

- Add PD and Log lower dilution

Example above: -6 + .375 =-6.375

Log TCID50= 10 – 6.375 or 1/ 2.37 x10 6

- Calculate TCID 50/ml. Divide by the ml of viral innoculum added to row A

Example above: according to our protocol=.008 ml TCID 50/ml= 2.37 x10 6/ .008= 2.9 x 108

- Calculate PFU/ml. Divide by constant.

Example above: 2.37 x10 6 x .69 = 2.0 x10 8 PFU/ml