# MASSON TRICHROME STAIN

## Paraffin-embedded, formalin fixed tissue

Notes:	Muscle fibers, keratin, fibrin	red Nuclei	black

Collagen	blue

SOLUTIONS:

## Bouin’s Solution

Bouin’s solution – Fisher Scientific: NC0827069

## Modified Weigert’s Iron Hematoxylin

Solution A

Hematoxylin crystals, C.I. 75290	-- 4.0 g

Alcohol, 80%	200 ml

Solution B

Ferric chloride (EMS 15510)	-- 8.0 g

Distilled water	190 g

HCl, concentrated 36.5-38%	--2.0 ml

## Working Modified Weigert’s Iron Hematoxylin

Equal parts of Solution A and Solution B mixed well, keep in dark.

2/2020

# MASSON TRICHROME STAIN

## Biebrich Scarlet-Acid Fuchsin Solution

Bibrich scarlet, C.I. 26905	-- 2.25 gm

Acid fuchsin, C.I. 42685	-- 0.25gm

Acetic acid, glacial	-- 2.5 gm

Distilled water	250 ml

## 1% Phosphomolybidic Acid Solution

Phosphomolybdic acid	-- 2.5 gm

Distilled water	250 ml

## 1.8 % Aniline Blue Solution

Aniline blue, C.I. 42755	-- 4.5 gm

Acetic acid, glacial	-- 4.5 ml

Distilled water	250 ml

## 1% Acetic Acid Solution

Acetic acid, glacial	-- 2.5 ml

Distilled water	250 ml

## Acid-Alcohol Differentiation Solution

0.5% hydrochloric acid in 70% alcohol

2/2020

# MASSON TRICHROME STAIN

## STAINING PROCEDURE:

- Deparaffinize and hydrate to distilled water

- Mordant in Bouins’s solution which has been preheated to 58˚ C for 15 minutes

- Wash slides with distilled water

- Modified Weigert’s Iron Hematoxylin (keep in dark) for 5 minutes

- Wash with 3-4 changes of distilled water

- Differentiate in acid-alcohol solution for 3-5 seconds

- Wash slides with 3-4 changes of distilled water

- Biebrich Scarlet-Acid Fuchsin solution for 5 minutes

- Rinse in 3 changes of distilled water

- 1% Phosphomolybdic acid solution for 2 minutes

- Aniline Blue solution for 5 minutes

- Rinse with 1 change of distilled water

- Acetic acid solution for 30 seconds

- Rinse with 2 changes of distilled water

- Dehydrate in graded alcohols

- Clear in Xylene

- Coverslip

2/2020