# Hematoxylin and Eosin Stain (H&E)

TECHNIQUE: Formalin fixed, paraffin tissue sections

REAGENTS:

Mayer’s Hematoxylin (Fisher Scientific cat: NC9220898 )

0.5% Acid Alcohol

70% Ethanol	995ml

Hydrochloric Acid, (36.5% - 38%)	5ml

1X PBS (pH 7.2-7.3)

Alcoholic-Eosin

1.0% Eosin Y

Eosin Y (CAS# 17372-87-1)	-- 1.0 g

Distilled water	100 ml

1.0% Phloxine B

Phloxine B (CAS# 18472-87-2)	-- 0.5 g

Distilled water	-- 50.0 ml

Working Alcoholic-Eosin Solution

1.0% Eosin Y	-- 50.0 ml

1.0% Phloxine B	-- 5.0 ml

95% Ethanol	-- 390.0 ml

Acetic acid, glacial	-- 4.0 ml

3/2020

PROCEDURE:

# Hematoxylin and Eosin Stain (H&E)

5 micron Paraffin Sections

- Deparaffinize and rehydrate slides to distilled water

- Stain in Mayers Hematoxylin for 1 minute

- Wash with 4-5 changes of Tap water or until blue stops coming off slides

- Blue nuclei in 1X PBS for 1 minute

- Wash with 3 changes of distilled water

- Counterstain in Alcoholic-Eosin for 1 minute (DO NOT RINSE)

- Dehydrate through 3 changes of 95% EtOH and 2 changes of 100% EtOH 1 minute each

- Clear in 3 changes of Xylene 1 minute each change

- Mount and coverslip

*Do NOT rinse with water after Alcoholic-Eosin! Go directly into dehydration of slides.

## RESULTS:

Nuclei	blue

Cytoplasm	pink

Erythrocytes	bright red

All other eosinophilic structures	red, pink, or orange

3/2020

# Hematoxylin and Eosin Stain For Fresh Frozen Section

(H&E)

## PROCEDURE:

- Take slides immediately from freezer and place in cold fixative (10% Neutral Buffered Formalin or 4% PFA) for 10 minutes

- Rinse slides in 1X PBS, 2 times for 3 minutes each to remove OCT or other tissue embedding compound

- Rinse in a gentle stream of tap water for 1 minute

- Stain in Mayers Hematoxylin for 30 seconds

- Wash in a gentle stream of tap water for 1 minute

- Blue nuclei in 1X PBS for 20 seconds

- Wash in a gentle stream of tap water for 1 minute

- Dip in 70% EtOH for 30 seconds

- Dip in 95% EtOH for 30 seconds

- Counterstain in Alcoholic-Eosin for 30 seconds

- Dehydrate through 2 changes of 95% EtOH and 3changes of 100% EtOH for 15 seconds each

- Clear through 3changes of Xylene for 1 minute each and coverslip

## RESULTS:

Nuclei	blue

Cytoplasm	pink

Erythrocytes	bright red

All other eosinophilic structures	red, pink, or orange

2/2020

# Hematoxylin and Eosin Stain For Frozen Section

(H&E)

## PROCEDURE:

- Rinse slides in 1X PBS for 3 minutes

- Rinse in a gentle stream of tap water until OCT is washed off for 3 minutes

- Stain in Mayers Hematoxylin for 30 seconds

- Wash in a gentle stream of tap water for 1 minute

- Blue nuclei in 1X PBS for 20 seconds

- Wash in a gentle stream of tap water for 1 minute

- Dip in 70% EtOH for 30 seconds

- Dip in 95% EtOH for 30 seconds

- Counterstain in Alcoholic-Eosin for 30 seconds

- Dehydrate through 2 changes of 95% EtOH and 3changes of 100% EtOH for 15 seconds each

- Clear through 3changes of Xylene for 1 minute each and coverslip

## RESULTS:

Nuclei	blue

Cytoplasm	pink

Erythrocytes	bright red

All other eosinophilic structures	red, pink, or orange

3/2020

PROCEDURE:

# Hematoxylin and Eosin Stain for soft tissue (H&E)

4 micron Paraffin Sections

- Deparaffinize and rehydrate slides to distilled water

- Stain in Mayers Hematoxylin for 4 minutes

- Wash with 4-5 changes of Tap water or until blue stops coming off slides

- Decolorize with 1 dips in 0.5% acid alcohol

- Wash in 3 changes of distilled water

- Blue nuclei in 1X PBS for 1 minute

- Wash with 3 changes of distilled water

- Counterstain in Alcoholic-Eosin for 30 seconds (DO NOT RINSE)

- Dehydrate through 3 changes of 95% EtOH and 2 changes of 100% EtOH 1 minute each

- Clear in 3 changes of Xylene 1 minute each change

- Mount and coverslip

*Do NOT rinse with water after Alcoholic-Eosin! Go directly into dehydration of slides.

## RESULTS:

Nuclei	blue

Cytoplasm	pink

Erythrocytes	bright red

All other eosinophilic structures	red, pink, or orange

3/2020