Users Meeting Agenda 1/23/23

Minutes

- Monkey Coil

  - New coil is here, we are working on setting up a user’s meeting, please reach out if interested and have not already

- MRI Safety

  - Next training session  2/10 at 1:30-2:30

  - New MRMD radiologist -Dr. Henry Wang-to help with decision making on questionable implants

    - Continue to pre-screen subjects and obtain as much documentation as possible

    - This will be a very last resort, in cases where impossible to obtain all needed information

  - New ferromagnetic detector highly sensitive for questionable materials

- Common equipment

  - Training on how to use (Biopac, eyetracker)-set-up workshops for interested parties -please send us requests

  - you can write and share protocols on protocols.io

  - New equipment (eye-tracker, headphones, etc)- multiple users and funding would make it easier to approve and acquire

- Digital screening form feedback

  - Make sure coordinators are checking the screening form before subjects submit

  - Send us feedback

  - How would we give these back to investigators to store with their documentation? -we are looking into it.

  - Studies with vision impaired subjects prefer to use paper form -that is OK

- IT updates

  - University is discontinuing the use of external hard drives; find alternative solutions

  - UR looking at comprehensive data repositories including imaging (XNat, https://www.xnat.org ) reach out to Neuroscience IT with needs/suggestions.

- We are still working on scheduling and cancelation policy

  - Send us suggestions you may have; we hope to have a proposal by next meeting

- Speaker Frank Garcea: “Goal-directed action in the human brain”